## 中央流入(合流系)
1
令和5年度
| 精密試験結果 |  | 流入水（合流系） | [12 empty] | 中央水みらいセンター | [10 empty] | 流入水（合流系） |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目
|  | (1-21,60,61） | 2023-04-05 | 2023-04-21 | 2023-05-12 | 2023-05-17 | 2023-06-08 | 2023-06-21 | 2023-07-05 | 2023-07-26 | 2023-08-02 | 2023-08-23 | 2023-09-06 | 2023-09-27 | 2023-10-05 | 2023-10-18 | 2023-11-01 | 2023-11-15 | 2023-12-13 | 2023-12-20 | 2024-01-10 | 2024-01-24 | 2024-02-08 | 2024-02-28 | 2024-03-07 | 2024-03-22
|  | （22-59） | 2023-04-21 | － | 2023-05-12 | － | 2023-06-08 | － | 2023-07-05 | － | 2023-08-02 | － | 2023-09-06 | － | 2023-10-05 | － | 2023-11-01 | － | 2023-12-13 | － | 2024-01-10 | － | 2024-02-08 | － | 2024-03-01 | －
1 | 採水方法 |  | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット |  |  |  |  | 22-58はスポット採水
2 | 水温 | ℃ | 21.3 | 21.5 | 21.1 | 22.4 | 23.1 | 24.6 | 25.7 | 27.4 | 30 | 28.4 | 29.5 | 27.9 | 26.5 | 24.8 | 23.8 | 23.1 | 18 | 21 | 15.6 | 18.3 | 15.4 | 18.3 | 16.5 | 17.9 | 22.6 | 30 | 15.4 | 水温
3 | 透視度 | 度 | 6.2 | 11 | 10 | 7 | 10 | 5.4 | 7 | 7.5 | 10 | 4.3 | 7 | 12 | 6.5 | 8.4 | 7.9 | 10 | 6.5 | 7.5 | 8 | 6.5 | 9 | 8.5 | 14 | 9 | 8.3 | 14 | 4.3 | 透視度
4 | pH |  | 6.8 | 6.5 | 6.9 | 6.9 | 7 | 6.9 | 6.9 | 6.6 | 6.9 | 6.8 | 6.9 | 6.8 | 7.3 | 6.8 | 6.8 | 6.7 | 6.9 | 6.9 | 6.8 | 6.9 | 6.5 | 6.8 | 7 | 7 | 6.8 | 7.3 | 6.5 | pH
5 | 蒸発残留物 | mg／L | 426 | 386 | 244 | 436 | 416 | 480 | 442 | 430 | 360 | 642 | 361 | 386 | 336 | 396 | 505 | 352 | 345 | 478 | 370 | 440 | 331 | 448 | 312 | 340 | 403 | 642 | 244 | 蒸発残留物
6 | 強熱残留物 | mg／L | 246 | 176 | 182 | 198 | 156 | 240 | 218 | 230 | 225 | 192 | 233 | 234 | 235 | 214 | 254 | 160 | 216 | 232 | 204 | 184 | 241 | 204 | 182 | 222 | 212 | 254 | 156 | 強熱残留物
7 | 強熱減量 | mg／L | 180 | 210 | 62 | 238 | 260 | 240 | 224 | 200 | 135 | 450 | 128 | 152 | 101 | 182 | 251 | 192 | 129 | 246 | 166 | 256 | 90 | 244 | 130 | 118 | 191 | 450 | 62 | 強熱減量
8 | 溶解性物質 | mg／L | 342 | 351 | 224 | 378 | 338 | 360 | 374 | 384 | 311 | 408 | 307 | 359 | 288 | 354 | 367 | 328 | 277 | 398 | 275 | 316 | 285 | 392 | 284 | 278 | 332 | 408 | 224 | 溶解性物質
9 | 浮遊物質（SS） | mg／L | 84 | 35 | 20 | 58 | 78 | 120 | 68 | 46 | 49 | 234 | 54 | 27 | 48 | 42 | 138 | 24 | 68 | 80 | 95 | 124 | 46 | 56 | 28 | 62 | 70 | 234 | 20 | 浮遊物質（SS）
10 | 生物化学的酸素要求量（BOD） | mg／L | 150 | 170 | 150 | 150 | 190 | 170 | 120 | 210 | 100 | 190 | 150 | 100 | 160 | 130 | 180 | 100 | 140 | 190 | 160 | 150 | 170 | 150 | 78 | 200 | 150 | 210 | 78 | 生物化学的酸素要求量（BOD）
11 | 化学的酸素要求量（COD） | mg／L | 100 | 64 | 56 | 100 | 72 | 100 | 94 | 84 | 60 | 140 | 61 | 62 | 68 | 94 | 130 | 66 | 76 | 100 | 96 | 91 | 58 | 120 | 61 | 79 | 85 | 140 | 56 | 化学的酸素要求量（COD）
12 | 全窒素（T-N） | mg／L | 34 | 24 | 27 | 39 | 31 | 41 | 47 | 35 | 39 | 38 | 42 | 28 | 44 | 36 | 47 | 22 | 34 | 36 | 37 | 35 | 35 | 35 | 22 | 27 | 35 | 47 | 22 | 全窒素（T-N）
13 | 有機性窒素 | mg／L | 10 | 5.8 | 5.8 | 10 | 4.8 | 11 | 21 | 10 | 18 | 7.8 | 18 | 2.8 | 16 | 8 | 27 | 3.8 | 12 | 8.8 | 16 | 8.8 | 14 | 9.7 | 5.7 | 5.9 | 11 | 27 | 2.8 | 有機性窒素 | ※１
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | 24 | 18 | 21 | 28 | 26 | 30 | 25 | 24 | 21 | 30 | 24 | 25 | 28 | 28 | 20 | 18 | 22 | 27 | 21 | 26 | 20 | 25 | 16 | 21 | 24 | 30 | 16 | ｱﾝﾓﾆｱ性窒素（NH4－N）
15 | 亜硝酸性窒素（NO2－N） | mg／L | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.058 | <0.010 | 0.077 | <0.010 | <0.010 | 0.077 | <0.010 | 亜硝酸性窒素（NO2－N）
16 | 硝酸性窒素（NO3－N） | mg／L | <0.10 | 0.14 | 0.11 | 0.14 | 0.12 | <0.10 | 0.15 | 0.15 | <0.10 | 0.15 | <0.10 | 0.12 | <0.10 | <0.10 | <0.10 | 0.14 | <0.10 | 0.18 | <0.10 | 0.13 | 0.13 | 0.22 | 0.16 | 0.1 | <0.10 | 0.22 | <0.10 | 硝酸性窒素（NO3－N）
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | 9.6 | 7.3 | 8.5 | 11 | 10 | 12 | 10 | 9.7 | 8.4 | 12 | 9.6 | 10 | 11 | 11 | 8 | 7.3 | 8.8 | 10 | 8.4 | 10 | 8.1 | 10 | 6.6 | 8.5 | 9.4 | 12 | 6.6 | ｱﾝﾓﾆｱ性窒素等 | ※２
18 | 全燐（T－P） | mg／L | 3.6 | 2.8 | 2.5 | 3.8 | 3 | 4.1 | 3.9 | 3.8 | 2.9 | 4.4 | 3.1 | 2.6 | 3.4 | 3.7 | 5.3 | 2.6 | 3.2 | 3.7 | 3.6 | 3.7 | 2.5 | 4 | 2.3 | 2.8 | 3.4 | 5.3 | 2.3 | 全燐（T－P）
19 | りん酸態りん | mg／L | 2.2 | 1.9 | 1.8 | 2.3 | 2.1 | 2.3 | 2.4 | 2.2 | 1.5 | 2.4 | 1.9 | 1.7 | 2.1 | 2.4 | 3.3 | 1.6 | 1.8 | 2.3 | 2.1 | 2.3 | 1.2 | 2.5 | 1.5 | 1.8 | 2.1 | 3.3 | 1.2 | りん酸態りん
20 | 塩化物イオン | mg／L | 69 | 45 | 45 | 53 | 48 | 72 | 57 | 68 | 55 | 58 | 63 | 59 | 72 | 71 | 62 | 55 | 61 | 56 | 57 | 73 | 71 | 60 | 49 | 73 | 61 | 73 | 45 | 塩化物イオン
21 | よう素消費量 | mg／L | 27 | － | 7 | － | 17 | － | 25 | － | 12 | － | 26 | － | 12 | － | 23 | － | 13 | － | 21 | － | 14 | － | 10 | － | 17 | 27 | 7 | よう素消費量
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | 9 | － | 9 | － | 8 | － | 11 | － | 9 | － | 9 | － | 10 | － | 17 | － | 10 | － | 15 | － | 10 | － | 4 | － | 10 | 17 | 4 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動）
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | bar: 2023-04-05 to 2024-03-22
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | bar: 2023-04-05 to 2024-03-22
25 | 陰イオン界面活性剤 | mg／L | [24 empty] | ― | ― | ― | 陰イオン界面活性剤 | bar: 2023-04-05 to 2024-03-22
26 | ﾌｪﾉｰﾙ類 | mg／L | 0.06 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | 0.05 | － | 0.05 | － | 0.05 | － | <0.05 | － | <0.05 | － | <0.05 | 0.06 | <0.05 | ﾌｪﾉｰﾙ類
27 | ｼｱﾝ含有量 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｼｱﾝ含有量
28 | ｱﾙｷﾙ水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｱﾙｷﾙ水銀
29 | 有機燐 | mg／L | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | <0.1 | <0.1 | <0.1 | 有機燐
30 | ｶﾄﾞﾐｳﾑ | mg／L | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | <0.003 | <0.003 | ｶﾄﾞﾐｳﾑ
31 | 鉛 | mg／L | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | <0.01 | <0.01 | 鉛
32 | PCB | mg／L | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | ND | ND | ND | PCB
33 | 六価ｸﾛﾑ | mg／L | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | <0.04 | <0.04 | 六価ｸﾛﾑ
34 | 砒素 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 砒素
35 | 総水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | 総水銀
36 | ｸﾛﾑ | mg／L | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | <0.02 | <0.02 | ｸﾛﾑ
37 | 銅 | mg／L | <0.02 | － | <0.02 | － | 0.03 | － | <0.02 | － | <0.02 | － | 0.04 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | 0.02 | － | <0.02 | － | <0.02 | 0.04 | <0.02 | 銅
38 | 亜鉛 | mg／L | 0.03 | － | 0.03 | － | 0.05 | － | 0.03 | － | 0.03 | － | 0.02 | － | 0.05 | － | 0.03 | － | 0.05 | － | 0.05 | － | 0.06 | － | 0.06 | － | 0.04 | 0.06 | 0.02 | 亜鉛
39 | 鉄（溶解性） | mg／L | 0.6 | － | 0.5 | － | 0.3 | － | 0.4 | － | 0.3 | － | 0.4 | － | 0.4 | － | 0.4 | － | 0.6 | － | 0.6 | － | 0.5 | － | 0.4 | － | 0.5 | 0.6 | 0.3 | 鉄（溶解性）
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | 0.1 | － | 0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | <0.1 | － | <0.1 | 0.1 | <0.1 | ﾏﾝｶﾞﾝ（溶解性）
41 | ﾌｯ素 | mg／L | 0.1 | － | <0.1 | － | 0.1 | － | <0.1 | － | <0.1 | － | 0.1 | － | <0.1 | － | 0.1 | － | 0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | 0.1 | <0.1 | ﾌｯ素
42 | ﾎｳ素 | mg／L | 0.04 | － | 0.03 | － | 0.04 | － | 0.04 | － | 0.04 | － | 0.04 | － | 0.04 | － | 0.05 | － | 0.03 | － | 0.04 | － | 0.03 | － | 0.02 | － | 0.04 | 0.05 | 0.02 | ﾎｳ素
43 | ｾﾚﾝ及びその化合物 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | ｾﾚﾝ及びその化合物
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE）
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE）
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | 0.001 | － | <0.001 | 0.001 | <0.001 | ｼﾞｸﾛﾛﾒﾀﾝ
47 | 四塩化炭素 | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 四塩化炭素
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ
54 | ﾁｳﾗﾑ | mg／L | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | <0.0006 | <0.0006 | <0.0006 | ﾁｳﾗﾑ
55 | ｼﾏｼﾞﾝ | mg／L | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | <0.0005 | <0.0005 | <0.0005 | ｼﾏｼﾞﾝ
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | <0.0003 | <0.0003 | <0.0003 | ﾁｵﾍﾞﾝｶﾙﾌﾞ
57 | ﾍﾞﾝｾﾞﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾍﾞﾝｾﾞﾝ
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | <0.05 | <0.05 | 1,4-ｼﾞｵｷｻﾝ
59 | ﾆｯｹﾙ | mg／L | [24 empty] | ― | ― | ― | ﾆｯｹﾙ | bar: 2023-04-05 to 2024-03-22
|  |  | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微黄色 | 微灰黄色 | 微灰黄色 | 微灰黄色
60 | 大腸菌群数 | 個／cm3 | 110000 | 79000 | 70000 | 50000 | 60000 | 170000 | 110000 | 200000 | 460000 | 190000 | 820000 | 88000 | 650000 | 140000 | 490000 | 130000 | 420000 | 58000 | 340000 | 73000 | 200000 | 44000 | 45000 | 59000 | 210000 | 820000 | 44000 | 大腸菌群数
61 | 残留塩素（total） | mg／L | [24 empty] | ― | ― | ― | 残留塩素（total） | bar: 2023-04-05 to 2024-03-22
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素

## 中央流入(分流系)
2
令和5年度
| 精密試験結果 |  | 流入水（分流系） | [12 empty] | 中央水みらいセンター | [10 empty] | 流入水（分流系） |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目
|  | (1-21,60,61） | 2023-04-05 | 2023-04-21 | 2023-05-12 | 2023-05-17 | 2023-06-08 | 2023-06-21 | 2023-07-05 | 2023-07-26 | 2023-08-02 | 2023-08-23 | 2023-09-06 | 2023-09-27 | 2023-10-05 | 2023-10-18 | 2023-11-01 | 2023-11-15 | 2023-12-13 | 2023-12-20 | 2024-01-10 | 2024-01-24 | 2024-02-08 | 2024-02-28 | 2024-03-07 | 2024-03-22
|  | （22-59） | 2023-04-21 | － | 2023-05-12 | － | 2023-06-08 | － | 2023-07-05 | － | 2023-08-02 | － | 2023-09-06 | － | 2023-10-05 | － | 2023-11-01 | － | 2023-12-13 | － | 2024-01-10 | － | 2024-02-08 | － | 2024-03-01 | －
1 | 採水方法 |  | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット |  |  |  |  | 22-58はスポット採水
2 | 水温 | ℃ | 22.1 | 21.7 | 22.3 | 23.6 | 23.7 | 25.8 | 27 | 28.7 | 29.5 | 30 | 29.5 | 28.1 | 27.2 | 26.3 | 25.1 | 23.2 | 17.5 | 21.2 | 15 | 18.7 | 14.3 | 18.9 | 16.8 | 18.4 | 23.1 | 30 | 14.3 | 水温
3 | 透視度 | 度 | 5 | 6.5 | 5.6 | 5 | 6 | 4.5 | 5 | 4.5 | 4.5 | 5.5 | 4 | 6 | 5 | 5 | 4 | 5 | 4 | 5 | 3.5 | 5.5 | 4 | 5 | 6 | 5.1 | 5 | 6.5 | 3.5 | 透視度
4 | pH |  | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.3 | 7.2 | 7.3 | 7.2 | 7.3 | 7.4 | 7.4 | 7.3 | 7.3 | 7.4 | 7.5 | 7.5 | 7.6 | 7.4 | 7.6 | 7.5 | 7.7 | 7.4 | 7.7 | 7.2 | pH
5 | 蒸発残留物 | mg／L | 2314 | 1868 | 1902 | 2262 | 2724 | 1886 | 2246 | 1246 | 1960 | 1874 | 2201 | 2276 | 1858 | 1314 | 957 | 552 | 1878 | 1638 | 2483 | 1456 | 1822 | 1538 | 1544 | 842 | 1777 | 2724 | 552 | 蒸発残留物
6 | 強熱残留物 | mg／L | 1264 | 734 | 1078 | 1042 | 944 | 728 | 878 | 484 | 1210 | 722 | 1253 | 816 | 1270 | 548 | 504 | 196 | 1329 | 762 | 1522 | 728 | 883 | 826 | 700 | 422 | 868 | 1522 | 196 | 強熱残留物
7 | 強熱減量 | mg／L | 1050 | 1134 | 824 | 1220 | 1780 | 1158 | 1368 | 762 | 750 | 1152 | 948 | 1460 | 588 | 766 | 453 | 356 | 549 | 876 | 961 | 728 | 939 | 712 | 844 | 420 | 908 | 1780 | 356 | 強熱減量
8 | 溶解性物質 | mg／L | 2154 | 1718 | 1786 | 2070 | 2592 | 1744 | 2074 | 1102 | 1780 | 1712 | 2008 | 2124 | 1714 | 1174 | 787 | 328 | 1694 | 1476 | 2305 | 1296 | 1645 | 1382 | 1372 | 686 | 1613 | 2592 | 328 | 溶解性物質
9 | 浮遊物質（SS） | mg／L | 160 | 150 | 116 | 192 | 132 | 142 | 172 | 144 | 172 | 162 | 193 | 152 | 144 | 140 | 170 | 224 | 184 | 162 | 178 | 160 | 177 | 156 | 172 | 156 | 163 | 224 | 116 | 浮遊物質（SS）
10 | 生物化学的酸素要求量（BOD） | mg／L | 170 | 280 | 260 | 160 | 280 | 140 | 170 | 310 | 160 | 140 | 190 | 180 | 160 | 160 | 170 | 190 | 190 | 210 | 130 | 150 | 190 | 130 | 150 | 280 | 190 | 310 | 130 | 生物化学的酸素要求量（BOD）
11 | 化学的酸素要求量（COD） | mg／L | 110 | 110 | 95 | 110 | 100 | 100 | 110 | 120 | 100 | 100 | 110 | 120 | 92 | 120 | 96 | 130 | 100 | 120 | 100 | 110 | 88 | 110 | 98 | 110 | 110 | 130 | 88 | 化学的酸素要求量（COD）
12 | 全窒素（T-N） | mg／L | 50 | 49 | 43 | 49 | 41 | 46 | 51 | 46 | 58 | 45 | 55 | 45 | 49 | 44 | 50 | 50 | 54 | 46 | 54 | 47 | 63 | 46 | 43 | 46 | 49 | 63 | 41 | 全窒素（T-N）
13 | 有機性窒素 | mg／L | 12 | 12 | 9.8 | 15 | 6.8 | 11 | 15 | 14 | 24 | 9.8 | 21 | 10 | 12 | 12 | 17 | 12 | 16 | 9.8 | 17 | 11 | 24 | 14 | 11 | 11 | 14 | 24 | 6.8 | 有機性窒素 | ※１
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | 38 | 36 | 33 | 33 | 34 | 35 | 35 | 31 | 33 | 35 | 34 | 34 | 37 | 31 | 33 | 37 | 38 | 36 | 37 | 35 | 38 | 31 | 31 | 34 | 35 | 38 | 31 | ｱﾝﾓﾆｱ性窒素（NH4－N）
15 | 亜硝酸性窒素（NO2－N） | mg／L | <0.010 | <0.010 | 0.012 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.12 | <0.010 | <0.010 | <0.010 | <0.010 | 0.13 | <0.010 | <0.010 | <0.010 | <0.010 | <0.010 | 0.25 | 0.067 | 0.27 | 0.29 | 0.24 | 0.057 | 0.29 | <0.010 | 亜硝酸性窒素（NO2－N）
16 | 硝酸性窒素（NO3－N） | mg／L | <0.10 | 0.12 | 0.11 | 0.11 | 0.11 | <0.10 | 0.11 | 0.16 | 0.1 | 0.14 | <0.10 | 0.12 | <0.10 | <0.10 | <0.10 | 0.15 | <0.10 | 0.13 | <0.10 | 0.13 | <0.10 | 0.11 | 0.17 | 0.18 | <0.10 | 0.18 | <0.10 | 硝酸性窒素（NO3－N）
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | 15 | 14 | 13 | 13 | 13 | 14 | 14 | 12 | 13 | 14 | 13 | 13 | 14 | 12 | 13 | 14 | 15 | 14 | 14 | 14 | 15 | 12 | 12 | 14 | 14 | 15 | 12 | ｱﾝﾓﾆｱ性窒素等 | ※２
18 | 全燐（T－P） | mg／L | 4.9 | 4.6 | 4.2 | 4.7 | 3.9 | 4.7 | 5 | 4.9 | 4.8 | 4.6 | 4.9 | 4.5 | 4.9 | 5.8 | 7.5 | 6.5 | 4.7 | 4.8 | 4.9 | 4.5 | 5.4 | 4.5 | 4 | 4.6 | 4.9 | 7.5 | 3.9 | 全燐（T－P）
19 | りん酸態りん | mg／L | 3.3 | 3.1 | 2.9 | 2.7 | 2.7 | 2.9 | 3.2 | 2.9 | 2.7 | 3 | 2.9 | 2.8 | 3 | 3.9 | 4.9 | 4.1 | 3 | 3 | 3 | 3.1 | 3 | 2.9 | 2.7 | 3 | 3.1 | 4.9 | 2.7 | りん酸態りん
20 | 塩化物イオン | mg／L | 840 | 590 | 830 | 830 | 710 | 570 | 590 | 330 | 610 | 520 | 520 | 570 | 580 | 330 | 230 | 62 | 760 | 570 | 770 | 570 | 490 | 550 | 560 | 270 | 550 | 840 | 62 | 塩化物イオン
21 | よう素消費量 | mg／L | 30 | － | 11 | － | 40 | － | 16 | － | 15 | － | 33 | － | 17 | － | 20 | － | 24 | － | 24 | － | 24 | － | 19 | － | 23 | 40 | 11 | よう素消費量
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | 12 | － | 10 | － | 11 | － | 13 | － | 13 | － | 13 | － | 13 | － | 14 | － | 17 | － | 14 | － | 17 | － | 9 | － | 13 | 17 | 9 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動）
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | bar: 2023-04-05 to 2024-03-22
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | bar: 2023-04-05 to 2024-03-22
25 | 陰イオン界面活性剤 | mg／L | [24 empty] | ― | ― | ― | 陰イオン界面活性剤 | bar: 2023-04-05 to 2024-03-22
26 | ﾌｪﾉｰﾙ類 | mg／L | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | <0.05 | <0.05 | ﾌｪﾉｰﾙ類
27 | ｼｱﾝ含有量 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｼｱﾝ含有量
28 | ｱﾙｷﾙ水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | ｱﾙｷﾙ水銀
29 | 有機燐 | mg／L | - | － | <0.1 | － | - | － | - | － | <0.1 | － | - | － | - | － | <0.1 | － | - | － | - | － | <0.1 | － | - | － | <0.1 | <0.1 | <0.1 | 有機燐
30 | ｶﾄﾞﾐｳﾑ | mg／L | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | － | <0.003 | <0.003 | <0.003 | ｶﾄﾞﾐｳﾑ
31 | 鉛 | mg／L | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | － | <0.01 | <0.01 | <0.01 | 鉛
32 | PCB | mg／L | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | - | － | N.D. | － | - | － | ND | ND | ND | PCB
33 | 六価ｸﾛﾑ | mg／L | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | － | <0.04 | <0.04 | <0.04 | 六価ｸﾛﾑ
34 | 砒素 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 砒素
35 | 総水銀 | mg／L | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | N.D. | － | ND | ND | ND | 総水銀
36 | ｸﾛﾑ | mg／L | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | － | <0.02 | <0.02 | <0.02 | ｸﾛﾑ
37 | 銅 | mg／L | 0.02 | － | 0.02 | － | 0.02 | － | <0.02 | － | 0.02 | － | <0.02 | － | 0.02 | － | 0.02 | － | 0.03 | － | 0.02 | － | <0.02 | － | 0.02 | － | <0.02 | 0.03 | <0.02 | 銅
38 | 亜鉛 | mg／L | 0.05 | － | 0.05 | － | 0.06 | － | 0.05 | － | 0.07 | － | 0.05 | － | 0.06 | － | 0.12 | － | 0.09 | － | 0.07 | － | 0.1 | － | 0.07 | － | 0.07 | 0.12 | 0.05 | 亜鉛
39 | 鉄（溶解性） | mg／L | 0.3 | － | 0.2 | － | 0.1 | － | 0.2 | － | 0.2 | － | 0.1 | － | 0.2 | － | 0.2 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.1 | － | 0.2 | 0.3 | 0.1 | 鉄（溶解性）
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | <0.1 | － | 0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | － | <0.1 | 0.1 | <0.1 | ﾏﾝｶﾞﾝ（溶解性）
41 | ﾌｯ素 | mg／L | 0.1 | － | 0.1 | － | 0.2 | － | 0.2 | － | 0.2 | － | 0.2 | － | 0.3 | － | 0.1 | － | 0.2 | － | 0.3 | － | 0.3 | － | 0.3 | － | 0.2 | 0.3 | 0.1 | ﾌｯ素
42 | ﾎｳ素 | mg／L | 0.15 | － | 0.08 | － | 0.05 | － | 0.05 | － | 0.06 | － | 0.06 | － | 0.05 | － | 0.05 | － | 0.04 | － | 0.05 | － | 0.05 | － | 0.05 | － | 0.06 | 0.15 | 0.04 | ﾎｳ素
43 | ｾﾚﾝ及びその化合物 | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | ｾﾚﾝ及びその化合物
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE）
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE）
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | 0.001 | － | <0.001 | － | 0.001 | － | 0.001 | － | 0.001 | － | <0.001 | － | 0.004 | － | <0.001 | － | <0.001 | － | <0.001 | － | 0.001 | － | <0.001 | － | <0.001 | 0.004 | <0.001 | ｼﾞｸﾛﾛﾒﾀﾝ
47 | 四塩化炭素 | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 四塩化炭素
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | － | <0.001 | <0.001 | <0.001 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ
54 | ﾁｳﾗﾑ | mg／L | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | - | － | <0.0006 | － | - | － | <0.0006 | <0.0006 | <0.0006 | ﾁｳﾗﾑ
55 | ｼﾏｼﾞﾝ | mg／L | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | - | － | <0.0005 | － | - | － | <0.0005 | <0.0005 | <0.0005 | ｼﾏｼﾞﾝ
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | - | － | <0.0003 | － | - | － | <0.0003 | <0.0003 | <0.0003 | ﾁｵﾍﾞﾝｶﾙﾌﾞ
57 | ﾍﾞﾝｾﾞﾝ | mg／L | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | － | <0.0005 | <0.0005 | <0.0005 | ﾍﾞﾝｾﾞﾝ
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | － | <0.05 | <0.05 | <0.05 | 1,4-ｼﾞｵｷｻﾝ
59 | ﾆｯｹﾙ | mg／L | [24 empty] | ― | ― | ― | ﾆｯｹﾙ | bar: 2023-04-05 to 2024-03-22
|  |  | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 灰黄色 | 微黄色 | 灰黄色 | 微黄色 | 灰黄色 | 微黄色 | 灰黄色 | 微黄色 | 灰黄色 | 微黄色 | 灰黄色 | 微黄色 | 灰黄色 | 微黄色 | 灰黄色 | 灰黄色 | 灰黄色
60 | 大腸菌群数 | 個／cm3 | 140000 | 130000 | 140000 | 120000 | 110000 | 150000 | 120000 | 180000 | 450000 | 200000 | 730000 | 140000 | 560000 | 150000 | 430000 | 150000 | 690000 | 100000 | 340000 | 91000 | 430000 | 65000 | 71000 | 83000 | 240000 | 730000 | 65000 | 大腸菌群数
61 | 残留塩素（total） | mg／L | [24 empty] | ― | ― | ― | 残留塩素（total） | bar: 2023-04-05 to 2024-03-22
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素

## 中央放流水
1
令和5年度
| 精密試験結果 |  | 放流水 | [12 empty] | 中央水みらいセンター | [10 empty] | 放流水 |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目
|  | (1-21,60,61） | 2023-04-05 | 2023-04-21 | 2023-05-12 | 2023-05-17 | 2023-06-08 | 2023-06-21 | 2023-07-05 | 2023-07-26 | 2023-08-02 | 2023-08-23 | 2023-09-06 | 2023-09-27 | 2023-10-05 | 2023-10-18 | 2023-11-01 | 2023-11-15 | 2023-12-13 | 2023-12-20 | 2024-01-10 | 2024-01-24 | 2024-02-08 | 2024-02-28 | 2024-03-07 | 2024-03-22
|  | （22-59） | 2023-04-05 | 2023-04-21 | 2023-05-12 | 2023-05-17 | 2023-06-08 | 2023-06-21 | 2023-07-05 | 2023-07-26 | 2023-08-02 | 2023-08-23 | 2023-09-06 | 2023-09-27 | 2023-10-05 | 2023-10-18 | 2023-11-01 | 2023-11-15 | 2023-12-13 | 2023-12-20 | 2024-01-10 | 2024-01-24 | 2024-02-08 | 2024-02-28 | 2024-03-01 | 2024-03-06
1 | 採水方法 |  | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット | スポット |  |  |  |  | 22-58はスポット採水
2 | 水温 | ℃ | 21.8 | 22.4 | 22.6 | 25.4 | 24.5 | 25.7 | 27 | 28.9 | 30.2 | 29.5 | 29 | 29.5 | 27 | 23 | 24.8 | 20.5 | 18 | 20 | 15.8 | 13.7 | 14 | 17.4 | 17.2 | 18.9 | 22.8 | 30.2 | 13.7 | 水温
3 | 透視度 | 度 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 透視度
4 | pH |  | 6.8 | 7 | 6.6 | 6.8 | 6.8 | 6.8 | 6.9 | 6.7 | 6.7 | 6.6 | 6.7 | 6.8 | 6.7 | 6.8 | 6.5 | 6.5 | 6.8 | 6.5 | 6.5 | 6.5 | 6.9 | 6.4 | 6.5 | 6.6 | 6.7 | 7 | 6.4 | pH
5 | 蒸発残留物 | mg／L | 926 | 1082 | 660 | 1032 | 1156 | 1136 | 1004 | 666 | 1090 | 1010 | 1156 | 1058 | 1134 | 828 | 639 | 278 | 851 | 988 | 837 | 1022 | 696 | 990 | 638 | 634 | 896 | 1156 | 278 | 蒸発残留物
6 | 強熱残留物 | mg／L | 456 | 416 | 236 | 422 | 386 | 430 | 400 | 338 | 626 | 742 | 735 | 786 | 774 | 598 | 375 | 196 | 556 | 654 | 453 | 606 | 488 | 583 | 306 | 426 | 500 | 786 | 196 | 強熱残留物
7 | 強熱減量 | mg／L | 470 | 666 | 424 | 610 | 770 | 706 | 604 | 328 | 464 | 268 | 421 | 272 | 360 | 230 | 264 | 82 | 295 | 334 | 384 | 416 | 208 | 407 | 332 | 208 | 397 | 770 | 82 | 強熱減量
8 | 溶解性物質 | mg／L | 925 | 1081 | 659 | 1031 | 1155 | 1136 | 1004 | 666 | 1090 | 1010 | 1154 | 1058 | 1134 | 827 | 638 | 277 | 850 | 987 | 835 | 1022 | 696 | 989 | 637 | 632 | 896 | 1155 | 277 | 溶解性物質
9 | 浮遊物質（SS） | mg／L | 1 | 1 | 1 | 1 | 1 | <1 | <1 | <1 | <1 | <1 | 2 | <1 | <1 | 1 | 1 | 1 | 1 | 1 | 2 | <1 | <1 | 1 | 1 | 2 | <1 | 2 | <1 | 浮遊物質（SS）
10 | 生物化学的酸素要求量（BOD） | mg／L | 2.7 | 4.5 | 1.4 | 1.7 | <1.0 | <1.0 | 1.3 | 1 | 1 | 1 | 1.4 | <1.0 | 1.4 | 1.3 | 1.5 | <1.0 | 1.2 | 1.5 | 1.1 | <1.0 | 1.4 | 1.3 | 1.1 | 2.9 | 1.3 | 4.5 | <1.0 | 生物化学的酸素要求量（BOD）
11 | 化学的酸素要求量（COD） | mg／L | 9.4 | 8.4 | 7.9 | 8.2 | 6.9 | 7.5 | 7.1 | 7.6 | 9.2 | 8.4 | 8.5 | 9.5 | 8.5 | 9.2 | 9.8 | 9.9 | 9.1 | 9.7 | 10 | 9.4 | 9.1 | 8.1 | 7.6 | 9.6 | 8.7 | 10 | 6.9 | 化学的酸素要求量（COD）
12 | 全窒素（T-N） | mg／L | 12 | 11 | 9.7 | 11 | 9 | 9.7 | 9.5 | 10 | 11 | 10 | 14 | 13 | 10 | 13 | 13 | 14 | 12 | 13 | 14 | 13 | 13 | 10 | 10 | 12 | 12 | 14 | 9 | 全窒素（T-N）
13 | 有機性窒素 | mg／L | 0.47 | 1.2 | 0.64 | 0.56 | 1 | 0.1 | 0.8 | 0.51 | 2.6 | 1.8 | 5.5 | 2.3 | 1.3 | 3.3 | 2.9 | 2.2 | 2.1 | 1.2 | 2 | 2.2 | 2.1 | 2 | 0.39 | 1.1 | 1.7 | 5.5 | 0.1 | 有機性窒素 | ※１
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | 1.2 | 4 | 0.24 | 0.78 | 1 | 0.44 | 1.6 | 0.6 | 0.8 | 0.58 | 1 | 4.4 | <0.20 | 2.3 | <0.20 | 0.68 | <0.20 | 0.72 | <0.20 | 0.67 | 0.73 | <0.20 | 0.7 | 0.3 | 0.95 | 4.4 | <0.20 | ｱﾝﾓﾆｱ性窒素（NH4－N）
15 | 亜硝酸性窒素（NO2－N） | mg／L | 0.33 | 0.26 | 0.12 | 0.16 | 0.039 | 0.053 | 0.093 | 0.086 | 0.1 | 0.011 | 0.045 | <0.010 | 0.01 | <0.010 | 0.016 | 0.058 | <0.010 | <0.010 | <0.010 | 0.046 | 0.11 | 0.089 | 0.1 | 0.56 | 0.095 | 0.56 | <0.010 | 亜硝酸性窒素（NO2－N）
16 | 硝酸性窒素（NO3－N） | mg／L | 10 | 5.5 | 8.7 | 9.5 | 6.9 | 9.1 | 7 | 8.8 | 7.5 | 7.6 | 7.4 | 6.3 | 8.6 | 7.4 | 10 | 11 | 9.9 | 11 | 12 | 10 | 10 | 7.9 | 8.8 | 10 | 8.8 | 12 | 5.5 | 硝酸性窒素（NO3－N）
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | 10 | 7.3 | 8.9 | 9.9 | 7.3 | 9.3 | 7.7 | 9.1 | 7.9 | 7.8 | 7.8 | 8 | 8.6 | 8.3 | 10 | 11 | 9.9 | 11 | 12 | 10 | 10 | 7.9 | 9.1 | 10 | 9.1 | 12 | 7.3 | ｱﾝﾓﾆｱ性窒素等 | ※２
18 | 全燐（T－P） | mg／L | 0.66 | 0.85 | 0.76 | 0.48 | 0.61 | 0.29 | 0.29 | 0.52 | 0.55 | 0.41 | 0.52 | 1.3 | 0.76 | 0.97 | 1.8 | 1.7 | 0.57 | 0.86 | 1.7 | 0.86 | 0.61 | 0.33 | 0.92 | 1.4 | 0.82 | 1.8 | 0.29 | 全燐（T－P）
19 | りん酸態りん | mg／L | 0.53 | 0.75 | 0.67 | 0.47 | 0.54 | 0.23 | 0.29 | 0.48 | 0.5 | 0.37 | 0.45 | 1.2 | 0.71 | 0.96 | 1.6 | 1.7 | 0.5 | 0.82 | 1.6 | 0.78 | 0.58 | 0.27 | 0.87 | 1.2 | 0.75 | 1.7 | 0.23 | りん酸態りん
20 | 塩化物イオン | mg／L | 280 | 270 | 280 | 300 | 270 | 290 | 260 | 190 | 300 | 260 | 280 | 360 | 310 | 210 | 160 | 59 | 310 | 360 | 220 | 310 | 230 | 260 | 230 | 220 | 260 | 360 | 59 | 塩化物イオン
21 | よう素消費量 | mg／L | 2 | 4 | 1 | 1 | 3 | 1 | 1 | 1 | <1 | 2 | 2 | 1 | 1 | 1 | 3 | 1 | <1 | <1 | 1 | 1 | 1 | 3 | <1 | 2 | 1 | 4 | <1 | よう素消費量
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | [24 empty] | <1 | <1 | <1 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | bar: 2023-04-05 to 2024-03-06
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | bar: 2023-04-05 to 2024-03-06
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | [24 empty] | ― | ― | ― | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | bar: 2023-04-05 to 2024-03-06
25 | 陰イオン界面活性剤 | mg／L | [24 empty] | ― | ― | ― | 陰イオン界面活性剤 | bar: 2023-04-05 to 2024-03-06
26 | ﾌｪﾉｰﾙ類 | mg／L | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | ﾌｪﾉｰﾙ類
27 | ｼｱﾝ含有量 | mg／L | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | ND | ND | ND | ｼｱﾝ含有量
28 | ｱﾙｷﾙ水銀 | mg／L | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | ND | ND | ND | ｱﾙｷﾙ水銀
29 | 有機燐 | mg／L | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | - | - | <0.1 | - | - | - | <0.1 | <0.1 | <0.1 | 有機燐
30 | ｶﾄﾞﾐｳﾑ | mg／L | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | <0.003 | ｶﾄﾞﾐｳﾑ
31 | 鉛 | mg／L | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 鉛
32 | PCB | mg／L | - | - | N.D. | - | - | - | - | - | N.D. | - | - | - | - | - | N.D. | - | - | - | - | - | N.D. | - | - | - | ND | ND | ND | PCB
33 | 六価ｸﾛﾑ | mg／L | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | <0.04 | 六価ｸﾛﾑ
34 | 砒素 | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 砒素
35 | 総水銀 | mg／L | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | N.D. | ND | ND | ND | 総水銀
36 | ｸﾛﾑ | mg／L | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | ｸﾛﾑ
37 | 銅 | mg／L | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 0.02 | <0.02 | 0.02 | <0.02 | 銅
38 | 亜鉛 | mg／L | 0.02 | 0.02 | 0.02 | 0.03 | 0.02 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03 | 0.02 | 0.02 | 0.04 | 0.03 | 0.05 | 0.05 | 0.04 | 0.02 | 0.05 | 0.04 | 0.1 | 0.05 | 0.04 | 0.05 | 0.03 | 0.1 | 0.02 | 亜鉛
39 | 鉄（溶解性） | mg／L | <0.1 | 0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | 0.1 | 0.1 | 0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | 鉄（溶解性）
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | 0.1 | 0.1 | 0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | ﾏﾝｶﾞﾝ（溶解性）
41 | ﾌｯ素 | mg／L | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | <0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | <0.1 | ﾌｯ素
42 | ﾎｳ素 | mg／L | 0.05 | 0.04 | 0.04 | 0.04 | 0.04 | 0.05 | 0.06 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.04 | 0.05 | 0.05 | 0.05 | 0.03 | 0.04 | 0.05 | 0.04 | 0.04 | 0.04 | 0.03 | 0.03 | 0.04 | 0.06 | 0.03 | ﾎｳ素
43 | ｾﾚﾝ及びその化合物 | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | ｾﾚﾝ及びその化合物
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE）
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE）
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | ｼﾞｸﾛﾛﾒﾀﾝ
47 | 四塩化炭素 | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 四塩化炭素
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ
54 | ﾁｳﾗﾑ | mg／L | - | - | <0.0006 | - | - | - | - | - | <0.0006 | - | - | - | - | - | <0.0006 | - | - | - | - | - | <0.0006 | - | - | - | <0.0006 | <0.0006 | <0.0006 | ﾁｳﾗﾑ
55 | ｼﾏｼﾞﾝ | mg／L | - | - | <0.0005 | - | - | - | - | - | <0.0005 | - | - | - | - | - | <0.0005 | - | - | - | - | - | <0.0005 | - | - | - | <0.0005 | <0.0005 | <0.0005 | ｼﾏｼﾞﾝ
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | - | - | <0.0003 | - | - | - | - | - | <0.0003 | - | - | - | - | - | <0.0003 | - | - | - | - | - | <0.0003 | - | - | - | <0.0003 | <0.0003 | <0.0003 | ﾁｵﾍﾞﾝｶﾙﾌﾞ
57 | ﾍﾞﾝｾﾞﾝ | mg／L | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | ﾍﾞﾝｾﾞﾝ
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | <0.05 | 1,4-ｼﾞｵｷｻﾝ
59 | ﾆｯｹﾙ | mg／L | [24 empty] | ― | ― | ― | ﾆｯｹﾙ | bar: 2023-04-05 to 2024-03-06
|  |  | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色 | 無色
60 | 大腸菌群数 | 個／cm3 | 90 | 130 | 100 | 13 | 6 | 3 | 4 | 3 | 6 | 96 | 7 | 24 | 100 | 28 | 120 | 1 | 11 | 2 | 2 | 2 | 16 | 60 | 25 | 130 | 41 | 130 | 1 | 大腸菌群数
61 | 残留塩素（total） | mg／L | 0.21 | 0.15 | 0.18 | 0.4 | 0.45 | 0.17 | 0.35 | 0.15 | 0.25 | 0.44 | 0.54 | 0.37 | 0.22 | 0.55 | 0.12 | 0.48 | 0.24 | 0.48 | 0.47 | 0.44 | 0.13 | 0.15 | 0.14 | 0.1 | 0.3 | 0.55 | 0.1 | 残留塩素（total）
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素

## 中央放流水終出水 (hidden)
2
令和5年度
| 精密試験結果 |  | 放流水 | [12 empty] | 中央水みらいセンター | [10 empty] | 放流水 |  |  |  | 中央水みらいセンター
項 目 |  | （項目番号) | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 1 |  | 2 |  | 3 |  | 平均 | 最大 | 最小 | 項 目 |  | 平均 | 最大 | 最小 | [7 empty] | 定量下限値
|  | (1-21,60,61） | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [8 empty] | MINA | MIN | 検出回数 | 測定回数 | 平均 | 最大 | 最小
|  | （22-59） | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1 | 採水方法 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  |  |  |  | 22-58はスポット採水 | [10 empty] | 21-58はスポット採水
2 | 水温 | ℃ | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 水温 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0 | 小数１位
3 | 透視度 | 度 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 透視度 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0 | ２桁
4 | pH |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | pH |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0 | 小数１位
5 | 蒸発残留物 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 蒸発残留物 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
6 | 強熱残留物 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 強熱残留物 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
7 | 強熱減量 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 強熱減量 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
8 | 溶解性物質 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 溶解性物質 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
9 | 浮遊物質（SS） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 浮遊物質（SS） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
10 | 生物化学的酸素要求量（BOD） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 生物化学的酸素要求量（BOD） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1 | 1.0
11 | 化学的酸素要求量（COD） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 化学的酸素要求量（COD） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1 | 1.0
12 | 全窒素（T-N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 全窒素（T-N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.2 | 0.20
13 | 有機性窒素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 有機性窒素 | ※１ | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0
14 | ｱﾝﾓﾆｱ性窒素（NH4－N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｱﾝﾓﾆｱ性窒素（NH4－N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.2 | 0.20
15 | 亜硝酸性窒素（NO2－N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 亜硝酸性窒素（NO2－N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01 | 0.010
16 | 硝酸性窒素（NO3－N） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 硝酸性窒素（NO3－N） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1 | 0.10
17 | ｱﾝﾓﾆｱ性窒素等 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｱﾝﾓﾆｱ性窒素等 | ※２ | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01
18 | 全燐（T－P） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 全燐（T－P） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1 | 0.10
19 | りん酸態りん | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | りん酸態りん |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1 | 0.10
20 | 塩化物イオン | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 塩化物イオン |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
21 | よう素消費量 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | よう素消費量 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
22 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱＋動） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
23 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（鉱） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
24 | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾉﾙﾏﾙﾍｷｻﾝ抽出物質（動） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
25 | 陰イオン界面活性剤 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 陰イオン界面活性剤 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.08
26 | ﾌｪﾉｰﾙ類 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾌｪﾉｰﾙ類 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05
27 | ｼｱﾝ含有量 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼｱﾝ含有量 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05 | ＮＤ
28 | ｱﾙｷﾙ水銀 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｱﾙｷﾙ水銀 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005 | ＮＤ
29 | 有機燐 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 有機燐 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
30 | ｶﾄﾞﾐｳﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｶﾄﾞﾐｳﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.003
31 | 鉛 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 鉛 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01
32 | PCB | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | PCB |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005 | ＮＤ
33 | 六価ｸﾛﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 六価ｸﾛﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.04
34 | 砒素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 砒素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
35 | 総水銀 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 総水銀 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005 | ＮＤ
36 | ｸﾛﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｸﾛﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.02
37 | 銅 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 銅 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.02
38 | 亜鉛 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 亜鉛 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.01
39 | 鉄（溶解性） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 鉄（溶解性） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
40 | ﾏﾝｶﾞﾝ（溶解性） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾏﾝｶﾞﾝ（溶解性） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
41 | ﾌｯ素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾌｯ素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.1
42 | ﾎｳ素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾎｳ素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.02
43 | ｾﾚﾝ及びその化合物 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｾﾚﾝ及びその化合物 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
44 | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾄﾘｸﾛﾛｴﾁﾚﾝ（TCE） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
45 | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾃﾄﾗｸﾛﾛｴﾁﾚﾝ（PCE） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
46 | ｼﾞｸﾛﾛﾒﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼﾞｸﾛﾛﾒﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
47 | 四塩化炭素 | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 四塩化炭素 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
48 | 1，2-ｼﾞｸﾛﾛｴﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，2-ｼﾞｸﾛﾛｴﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
49 | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，1-ｼﾞｸﾛﾛｴﾁﾚﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
50 | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼｽ-1，2-ｼﾞｸﾛﾛｴﾁﾚﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
51 | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，1，1-ﾄﾘｸﾛﾛｴﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
52 | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，1，2-ﾄﾘｸﾛﾛｴﾀﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
53 | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1，3-ｼﾞｸﾛﾛﾌﾟﾛﾍﾟﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.001
54 | ﾁｳﾗﾑ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾁｳﾗﾑ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0006
55 | ｼﾏｼﾞﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ｼﾏｼﾞﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
56 | ﾁｵﾍﾞﾝｶﾙﾌﾞ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾁｵﾍﾞﾝｶﾙﾌﾞ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0003
57 | ﾍﾞﾝｾﾞﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾍﾞﾝｾﾞﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.0005
58 | 1,4-ｼﾞｵｷｻﾝ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1,4-ｼﾞｵｷｻﾝ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05
59 | ﾆｯｹﾙ | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | ﾆｯｹﾙ |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.06
|  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | [7 empty] | #REF! | #REF! | #REF! | 0 | 24
60 | 大腸菌群数 | 個／cm3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 大腸菌群数 |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 1
61 | 残留塩素（total） | mg／L | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 残留塩素（total） |  | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 24 | #REF! | #REF! | #REF! | 0.05
[17 empty] | ※１）有機性窒素＝全窒素－（アンモニア性窒素＋亜硝酸性窒素＋硝酸性窒素） | [7 empty] | ※２）アンモニア性窒素等＝アンモニア性窒素×0.4＋亜硝酸性窒素＋硝酸性窒素